# REPORT TO THE AAPM THERAPY PHYSICS COMMITTEE

Report No. 123		October 1, 2005 – January 31, 2006

## Personnel

As was reported previously, Ms. Eddie Marie Childers retired from M.D. Anderson Cancer Center and from her position as supervisor at the RPC’s TLD group in March 2005. Mr. Bryan Stewart was promoted from his position as a TLD technician to TLD supervisor. Mr. Stewart has now with been with the RPC for 8 years, has assumed responsibility for TLD that requires special attention and has dealt with unusual or complex technical issues with the equipment. He has been functioning in his role as supervisor for almost a year now and has performed exceptionally well. One measure of his successful leadership is that the turnaround time for TLD has been reduced to less than half of its previous value.

In August 2005, Ms. Mary Lou Lesseraux returned from retirement to work part-time at the RPC. Ms. Lesseraux’s responsibilities include data entry into our database, managing the invoicing and collection of the annual participation fee, and assistance with some of our credentialing activities.

In September 2005, Ms. Stephanie Lampe was hired to fill the position left vacant when Eddie Marie Childers left. In December, another TLD technician, Ms. Ana Aguirre, resigned her position at the RPC to move closer to her family. A replacement for Ms. Aguirre, Ms. Amy Springer, has been recruited and will begin work on February 6th.

During the past year, Ms. Paola Alvarez performed a rotation in the clinic between January and July, and Ramesh Tailor, Ph.D. conducted a rotation from July through December. Dr. Tailor was asked to return to the clinic sooner than predicted by our rotation schedule because Ms. Jessica Lowenstein, who would be ordinarily have conducted a rotation in the second half of 2005, announced her pregnancy. It was felt that it would be inappropriate to ask Ms. Lowenstein to go to the clinic under these circumstances. Beginning January 2006, Mr. Francisco Aguirre has started a clinical rotation and will conduct this rotation until July 2006.

## GRANT ACTIVITIES

The RPC grant was renewed in January 2005 for six years. While the review was good and the site visit went well, budgetary restrictions required NCI to provide us only with approximately the same funding as in previous years. As this presented a considerable financial hardship to the RPC, we were permitted to increase the annual participation fee. The increase went into effect in September 2005. We have since been informed that for 2006, our funds from NCI will be approximately 3% less than in 2005. The increased participation fee is not sufficient to compensate for this shortfall, therefore, additional adjustments will be made. For example, additional phantoms, including the IMRT phantoms, will be made available through Radiation Dosimetry Services (RDS) for a fee. Several RPC staff will be funded from the RDS budget for a portion of the next year to provide these services and to reduce the cost to the RPC budget. In addition, we anticipate offering radiation dosimetry audit visits, similar to those offered by the RPC, for a fee to institutions who request them. Again, some of the RPC staff will be transfered to the RDS payroll for a portion of the year to provide these services. Both the phantoms and visits will be provided in a manner that detracts no more than necessary from the RPC services, and in a way that most effectively and fairly meets the needs of the medical physics community.

As part of the NCI site visit in July 2004, the review committee provided a detailed list of comments and recommendations. These comments have been summarized and the RPC’s proposed responses, and actions already taken, are listed below.

- Prioritization

  - RPC must develop a “master plan”, rather than responding in an ad-hoc fashion to requests from study groups.

We agree that this would assist us in planning, but are concerned that it would reduce our responsiveness to the study groups. Study group priorities sometimes change with short notice.  We pay close attention to the study groups’ protocol priorities, and adjust our priorities accordingly.

- Interactions with Radiation Physics Department

  - The clinical rotations need to be improved further.  RPC physicists should experience a broader range of clinical and anatomic sites, and get hands-on experience in planning and delivery using advanced technologies.

Through conversations with Dr. Gillin and Mr. Tolani, the RPC physicists clinical rotation has been adjusted in an effort to provide a broad experience. However, more recently, the RPC position has been moved to the Melanoma/Sarcoma service, meaning that in fact the RPC physicist’s responsibilities are fairly narrow. In addition, the physics services are provided only by Mr. Tolani and the RPC physicist, putting an undue strain on Mr. Tolani. The RPC plans to ask that the assignment of this position be reconsidered and a service with more varied responsibilities be chosen.

  - The RPC needs to demonstrate more collaborative research with the Department of Radiation Physics.  Collaborations should be created during the clinical rotations, and maintained afterwards.

The RPC has addressed this issue with the Department, and a number of collaborations have been developed. The list of collaborations has been reviewed with Dr. Mohan, and in fact continues to grow. A list of collaborations appears later in this report.

- Visits

  - The priority list for visits is quantitative, but the threshold score of 12 is arbitrary; the RPC needs to estimate the impact on reported dose as a function of priority score.

The priority score is not only an indication of the likelihood of an incorrect dose, but also the number of patients potentially affected. The RPC has demonstrated that the institutions that had received visits account for 95% of the patients put onto clinical trials, in the study groups most closely monitored by the RPC. This is approximately 700 institutions. The remaining 700 institutions collectively registered only 5% of patients on clinical trials. Therefore, our choice of a threshold score of 12 is clearly appropriate and no adjustments are envisioned. Institutions with lower priorities scores (a suitable value has yet to be chosen) may request a visit for a fee through Radiation Dosimetry Services.

- Remote Audit Tools

  - Consider reducing/eliminating monitoring of electron beams with TLD.

Effective 10/1/04, we have eliminated the routine measurement of %dd.  Instead, we measure %dd on all beams for new machines, and whenever repeats are required.

  - Determine if changing to a 12-month cycle has improved institutional compliance.

We will look at our statistics in the near future and determine the interval from shipping to receipt of TLD, before and after the change.

  - Pursue with study chairs enforcing compliance with a warning/final letter indicating the impact on study group membership.

This recommendation has been implemented and is performed on a regular basis.

- Database/Computer Technology

  - RPC’s plans for improvements to the database, and especially automated data-collection capabilities, aren’t sufficiently specified.  RPC didn’t provide a clear and well-defined direction for further development.  RPC didn’t provide detailed plans for maintenance and upgrading of the operating system and database product.  RPC did not explain methods for determining priority and assigning resources to development of new projects.  RPC’s plans for remote data collection and entry were not specified.  RPC’s next application must make more clear what has been accomplished and what we are proposing to do.

The RPC’s current funding level does not permit us to adequately address all of these criticisms. However, progress has been made on a number of issues related to these recommendations:

    - RPC is presently testing automated data transfer from the TLD readers to our database.

    - RPC has recently implemented a new version of our visit software that facilitates the automated transfer of data from our visits into our database.

    - RPC is currently negotiating with M. D. Anderson to transfer our database to an Oracle RAC server maintained by the institution. Doing so will upgrade the RPC to a current version of Oracle software, and will provide us with newer capabilities. This will also involve a considerable amount of effort to upgrade our database software to the current version of Oracle software.

  - The RPC web page content falls below industry standards.

Improvements to the RPC website were deferred (see item 1a) while issues of higher priority were addressed. Work has again begun recently on the website and it is anticipated that a new website will be implemented in the next three months.

  - Only the current Newsletter appears on the web site.

We will call greater attention to the link in our Newsletter to our FAQ page where all RPC and QA Subcommittee Newsletters are available.

  - Institutions should be able to enter information through a web interface, possibly directly into the Oracle database, rather than by sending documents by email.

As has been described in the past, RPC has implemented a direct web interface to allow institutions to enter information directly. This capability has been used for the NSABP/RTOG partial breast irradiation protocol and is now implemented for an NCCTG protocol.

  - Questionnaires for specific trials should be refined to minimize free text entry and rely more on check-off format.

We have implemented this for the NSABP/RTOG trial of partial breast irradiation. This format is also being implemented for subsequent trials.

  - RPC especially needs to develop plans to automate data collection to meet the demand for review of RTOG 0413/NSABP B-39 charts.  This needs to be a major focus of the IT group.

We have implemented this for credentialing for the NSABP/RTOG trial of partial breast irradiation.  Implementation for retrospective reviews, and for other study groups, will require additional resources for the IT group.

  - RPC should continue progress toward a paperless operation.

We are making progress toward this goal, and propose to implement it first with our review of TLD measurements. Electronic review of TLD measurements is currently being tested and should be implemented in the next couple of months.

- Standard Data

  - No specific recommendations.

- Credentialing/Pre-Approval of Institutions/Individuals

  - RPC should continue development of advanced anthropomorphic phantoms that can evaluate dosimetry in sites with significant organ motion.

A new liver phantom was developed for RTOG 0438 that is shipped to an institution together with a reciprocating platform. The institution is instructed to place the phantom on the reciprocating platform and perform 4D CT imaging and deliver treatment in a manner that addresses the simulated respiratory motion. As of this date, the phantom has been to three institutions. The RPC plans further development in this area.

  - There is concern that RPC can meet the demand for chart review.  The upcoming RTOG/NSABP PBI trial was mentioned in this context.

RPC has clearly demonstrated its ability to meet the demands for credentialing and chart review for the RTOG/NSABP PBI trial. A summary of the volume of credentialing and rapid reviews performed to date appears later in this report.

- Clinical Trials Cooperative Groups Needs

  - RPC must be proactive to assure that we receive data from investigators in a timely fashion.

We have limited control over the rate at which study groups send us patient data, but our new electronic capabilities will facilitate faster turnaround.  The PBI trial will stimulate a change in behavior of the NSABP.

  - RPC should determine the source of errors in charts and communicate this to study groups to educate members.

We are planning to publish our experience with GOG charts.  Whether or not we can do this in other cases will depend on the approval of the study groups.

  - RPC should use its clinical advisory committee to determine how to reduce the error rate in reporting.

We will investigate this with our clinical advisory committee.

  - The QA workshop must be conducted, and RPC is encouraged to seek NCI support (either an R-13 grant, or use the NCI workshop program mechanism.)  RT chairs should participate, not just group chairs.

A round table on quality assurance was held at NCI in September 2005. The purpose of this meeting was to identify areas in which quality assurance issues needed to be addressed and to which NCI funds needed to be applied. A white paper was prepared from contributions by each of the speakers at the round table, and as of this date, is complete. This white paper is expected to drive the development of a quality assurance workshop to be held in the Spring of 2006.

- Interactions with the Radiation Oncology Community

  - RPC needs to engage in more collaboration with physicians.

We are continuing to encourage study chairs to include us when reports of trials are written, but authorship of study reports is always fiercely contested.  We are also working harder to develop collaborations with the MDACC clinic.

  - Physicians other than the department chair should get feedback after a visit.

It is not clear how we can influence this.  In fact, the exit interview is frequently conducted with a physician other than the department chair, subject to the availability of the chair.

  - The Clinical Advisory Committee should meet with RT Chairs regularly.

The five members of the Advisory Committee are active on study group committees, and several are RT chairs. RPC funding does not allow us to conduct meetings of the clinical Advisory Committee with RT chairs.

  - At least two newsletters a year should be sent to the physician community.

During the past year, RPC resources have been directed towards others issues. However, it is still our intention to submit articles to newsletters directed toward the physician community. Several presentations have been given to physician groups over the last year, that highlight the activities of the RPC. These have been received well. See the summary of presentations later in this report. See Appendix II.

  - A workshop, similar to the proposed QA workshop, needs to be provided to appeal to a broader audience, including physicians who are interested in clinical trials but are not in leadership positions.

Through the ATC, additional workshops are planned.

  - RPC’s mission may need to be expanded by NCI to address standardization in areas such as cryosurgery and radiofrequency ablation.

We will pursue this with NCI.  Additional resources will be required.

- Research Design and Methods

  - This was not as well described or detailed as other aspects of the grant.  RPC needs to provide more detail, and include specific goals and timelines for new research activities.

This will be addressed in our next renewal application.

  - RPC physicists should be given “protected research time”.

This is being investigated.  Additional resources will be required, or physicist resources will need to be reallocated.

  - RPC’s publication record is still “modest”.

We agree, and are continuing to increase the rate at which our posters and presentations are converted into publications.

  - RPC should focus on IMRT, image-guided therapy, and collaboration with the Radiation Physics Department.

We are continuing to increase our collaborative efforts with the Clinical Physics Section. RPC’s experience with the IMRT phantoms demonstrates our focus on IMRT. We continue to investigate the best ways to conduct audits of image guided therapy. See later in this report for a list of collaborations.

- Dissemination of Information

  - RPC should consider an “opt-in” mailing list through ASTRO to enable it to reach radiation oncologists and others outside AAPM.

We will approach ASTRO about such a capability.

  - RPC web site should include citations of publications, with links to PubMed and/or journal websites.

We have begun to do this with the brachytherapy seed registry.  Direct links to articles in on-line journals are generally not permitted, but we presently provide links to the journals.  In some cases, full publications can be downloaded from our web site.

  - More information needs to be made available on the web site, including policies, procedures, membership information, questionnaires, data-entry forms, technical reports, and research results.

We agree, and will continue to expand and enhance the web site.

INSTITUTIONS MONITORED

The RPC’s work continues to increase as more institutions join study groups or participate through one of several other options available to them. The table below indicates the changes during the last two years in the number of institutions monitored by the RPC.

Institutions monitored by the RPC

| As of | Active | Active- | CTSU |  |
| --- | --- | --- | --- | --- |
| (date) | Inst. | No xrt* | (pending) | Totals |
| 7/1/2004 | 1,306 | 71 | 5 | 1,382 |
| 1/1/2005 | 1,329 | 71 | 9 | 1,409 |
| 7/1/ 2005 | 1,387 | 94 | 12 | 1,493 |
| 1/1/2006 | 1,427 | 101 | 3 | 1,531 |

Institutions continue to adopt the TG-51 protocol at a steady rate of between 15 and 20 institutions per month. The graph below indicates that as of this date, 1, 101 institutions have converted to TG-51. This is 77% of the active institutions monitored by RPC.

MAJOR ACTIVITIES

TLD Audits

During the past year, the RPC sent 4, 374 reports of photon beam measurements, and 6, 130 reports of electron beam measurements. In addition, repeat measurements were made of 436 beams (4%).

Visits

The RPC continues to visit institutions as indicated by their priority score. The priority score is based on parameters such as the number of patients registered, the number and type of treatment machines, and the TLD history. A list of the institutions visited during the previous four months is included in this report. Over the past year, RPC physicists made measurements in 252 beams (a beam is a photon beam or a cadre of electron beams).

Credentialing

Credentialing continues to be a major occupation for the RPC. The following protocols have accounted for a substantial effort by the RPC during this period:

RTOG 0413/NSABP B-39 Partial Breast Irradiation.

As of early January 2006, 274 distinct institutions received credentialing for the PBI protocol. A break down of the physicians and institutions applying and receiving credentials appears in the table below:

| Modality | Institutions Applied | Institutions Credentialed | Physicians Credentialed |
| --- | --- | --- | --- |
| 3D Conformal | 313 | 228 | 510 |
| Mammosite | 227 | 137 | 283 |
| Multicatheter | 57 | 30 | 71 |
| Total Inst. Credentialed | 274 |  |  |

As is evident, the majority of physicians and institutions are becoming credentialed for the 3D conformal modality. Even more concerning to the study chairs is the fact that 75% of the patients submitted to this protocol so far have used the 3D conformal technique. Efforts are on the way to increase the submission of patients treated using brachytherapy.

The RPC is able to conduct credentialing process within one or two days after receipt of complete information. However, a number of applications that are received are incomplete or the questionnaires contain incorrect answers. Feedback is provided to the institution in this case. Other institutions have difficulty submitting their benchmarks electronically to the ITC.

The RPC participates in the rapid and timely reviews of the first five treatment plans for both brachytherapy modalities, from each institution.  We also participate in "open" reviews of cases selected randomly once institutions demonstrate their capability to plan correctly.  To date, we have performed the following:

| Modality | Rapid | Timely | Open |
| --- | --- | --- | --- |
| Mammosite | 31 | 21 | 5 |
| Multicatheter | 7 | 5 | 13 |

Phantoms

The RPC is currently credentialing institutions to participate in six IMRT protocols and two radiosurgery protocols. In addition five IMRT protocols and one stereotactic protocol are in development that will require credentialing by one of the RPC phantoms. A table summarizing the number of institutions receiving RPC phantoms appears below:

Phantom Results

| Phantom | H&N | Prostate | Thorax | Liver |
| --- | --- | --- | --- | --- |
| Irradiations | 205 | 49 | 25 | 4 |
| Pass | 126 | 33 | 14 | 2 |
| Fail | 51 | 4 | 3 | - |
| Under analysis or at institution | 16 | 6 | 4 | 2 |
| Unevaluable | 12 | 6 | 4 | - |
| Institutions | 154 | 42 | 51 | 4 |
| Year introduced | 2001 | 2004 | 2004 | 2005 |

The RPC continues to experience a surprisingly large failure rate by institutions irradiating the RPC head and neck phantom. Approximately one third of first time irradiations fail to meet the RPC criteria (agreement of absolute dose in the PTV of 7%, agreement of placement of the dose distributions and steep gradient reading of 4mm). Our analysis of the causes of failure indicates a number of causes including incorrect data in treatment planning systems and inadequate modeling of beam parameters.

Benchmarks

The RPC is presently credentialing institutions to participate in six protocols using benchmark treatment plans of one sort or another. In addition, we conduct protocol compliance reviews of the initial treatment plan submitted for patients on two other protocols.

## PARTICIPANT FEE:

## Institutions invoiced FY06	1355

No XRT/Canceled/Inactive	14

## Invoiced by RDS	10

Institutions paid	901

### PUBLICATIONS AND ABSTRACTS

Publications Accepted/Published (2001-2005):

- Kirsner, S.M., Prado, K.L., Tailor, R.C., and Bencomo, J.A.: Verification of the accuracy of 3D calculations of breast dose during tangential irradiation: measurements in a breast phantom. J. Applied Clin. Med. Phys., 2 (3), pp. 149-156, 2001.

- Melia, Sc.M., Michele; Abramson, M.D., David; Albert, M.D., Daniel; Boldt, M.D. Culver; Earle, M.D., John; Hanson, Ph.D., William; Montague, Paul; Moy, Ph.D., Claudia; Schachat, M.D., Andrew; Simpson, M.D., Rand; Straatsma, M.D., Bradley; Vine, M.D., Andrew; and Weingeist, M.D., Ph.D., Thomas: Collaborative Ocular Melanoma Study (COMS) Randomized Trial of I-125 Brachytherapy for Medium Choroidal Melanoma I. Visual Acuity after 3 Years, COMS Report No. 16”, Opthalmology, 108 (2):348-366, 2001.

- Kim, C-H., Reece, W. D., and Cho, S. H.  Computer simulation of radiation exposure in a S/G channel head.  Trans. Am. Nucl. Soc., 84:325-326, 2001.

- Tailor, R., Hanson, W., Calculated absorbed-dose ratios, TG-51/TG-21, for most widely used cylindrical and parallel-plate ion chambers over a range of photon and electron energies, Med. Phys. Vol. 29:1464-1472, 2002.

- Gifford, K.A., Followill, D.S., Liu, H.H., and Starkschall, G.  Verification of the accuracy of a photon dose-calculation algorithm.  J. Applied Clin. Med. Phys. 3:26-45, 2002.

- Villarruel, S., Ibbott, G.S., and Lai-Fook, S.J.: Effect of concentration and hydration on restriction of albumin by lung interstitium.  Microvascular Research 63, 27-40, 2002.

- Cadman, P., Bassalow, R., Sidhu, N.P.S., Ibbott, G., Nelson, A.  Dosimetric considerations for validation of a sequential IMRT process with a commercial treatment planning system.  Physics in Medicine and Biology Vol. 47, 3001-3010, 2002.

- Ibbott, G., Beach, M., Maryanski, M.  An anthropomorphic head phantom with a BANG® polymer gel insert for dosimetric evaluation of IMRT treatment delivery.  Standards and Codes of Practice in Medical Radiation Dosimetry, Proceedings of an International Symposium, Vienna, Vol. 2, pp. 361-368, November 25-28, 2002.

- Ibbott, G., Nelson, A., Followill, D., Balter, P., Hanson, W.  An anthropomorphic head and neck phantom for evaluation of intensity modulated radiation therapy.  Standards and Codes of Practice in Medical Radiation Dosimetry, Proceedings of an International Symposium, Vienna, Vol. 2, pp. 209-217, November 25-28, 2002.

- Izewska, J., Svensson, H., Ibbott, G.  Worldwide QA networks for radiotherapy dosimetry.  Standards and Codes of Practice in Medical Radiation Dosimetry, Proceedings of an International Symposium, Vienna, Vol. 2, pp. 139-155, November 25-28, 2002.

- Aguirre J, Tailor R, Ibbott G, Stovall M, Hanson W. TLD as a remote verification of output for radiotherapy beams: 25 years of experience.  Standards and Codes of Practice in Medical Radiation Dosimetry, Proceedings of an International Symposium, Vienna, Vol. 2, pp. 191-199, November 25-28, 2002.

- Tailor R, Hanson W, and Ibbott G, TG-51 Experience from 150 institutions, common errors, and helpful hints, J. Applied Clin. Med. Phys., Vol. 4, pp.102-111, 2003.

- Urie, M., FitzGerald, T.J., Followill, D., Laurie, F., Marcus, R., Michalski, J.  Current calibration, treatment, and treatment planning techniques among institutions participating in the Children’s Oncology Group. Int. J. of Radiat. Oncol., Biol., Phys. 1:245-260, 2003.

- Followill D.S., Hanson, W.F., Ibbott, G.S., Eglezopoulos, L.R., and Chui, C.S.  Differences in electron beam dosimetry using two commercial ionization chambers and the TG-21 protocol: another reason to switch to TG-51.  J. Applied Clin. Med. Phys. 4: 124-131, 2003.

- Nag, S., Quivey, J.M., Earle, J.D., Followill, D.S., Fontanesi, J., and Finger, P. The American Brachytherapy Society Recommendations for Brachytherapy of Uveal Melanomas, Int. J. of Radiat. Oncol., Biol., Phys. 56:544-555, 2003.

- Krintz, A.L., Hanson, W.F., Ibbott, G.I. and Followill, D.S., A Reanalysis of the Collaborative Ocular Melanoma Study Medium Tumor Trial Eye Plaque Dosimetry, Int. J. of Radiat. Oncol., Biol., Phys. 56:889-898, 2003.

- Followill, D.S., Stovall, M.S., Kry, S.F., and Ibbott, G.S., Neutron source strength measurements for Varian, Siemens, Elekta, and General Electric linear accelerators. J. Applied Clin. Med. Phys. 4:189-194, 2003.

- Diener-West, M., Albert, D. M., Frazier Byrne, SI, Davidorf, F. H. Followill, D. S., Green, R.L., Hawkins, B.S., Kaiser, P.K., Robertson, D.M., and Straatsma, B.R., Comparison of Clinical, Echographic and Histopathologic Measurements from Eyes with Medium-Sized Choroidal Melanoma: in the Collaborative Ocular Melanoma Study.  COMS Report No. 21, The Collaborative Ocular Melanoma Study Group, Archives of Ophthalmology 121: 2003.

- Tailor, R.C., Followill, D.S., Hernandez, N., Ibbott, G.S., and Hanson, W.F., “Predictability of electron cone ratios with respect to linac make and model,” J. Applied Clin. Med. Phys., Vol. 4 (2), pp. 172-178, 2003.

- Cho, S.H. and Ibbott, G.S., “Reference photon dosimetry data: A preliminary study of in-air off-axis factor, percentage depth dose, and output factor of the Siemens Primus linear accelerator”, J. Applied Clin. Med. Phys. 4 (4): 300-306, 2003.

- Cho S, Reece W, Kim C. Validity of two simple rescaling methods for electron/beta dose point kernels in heterogeneous source-target geometry. Radiation Physics and Chemistry 69:265-72, 2004.

- Rivard M, Coursey B, DeWerd L, Hanson W, Huq M, Ibbott G, Mitch M, Nath R, Williamson J. Update of AAPM Task Group No. 43 Report: A revised AAPM protocol for brachytherapy dose calculations. Med. Phys. 31:633-74, 2004.

- DeWerd L, Huq M, Das I, Ibbott G, Hanson W, Slowey T, Williamson J, Coursey B. Procedures for establishing and maintaining consistent air-kerma strength standards for low-energy, photon-emitting brachytherapy sources: Recommendations of the Calibration Laboratory Accreditation Subcommittee of the American Association of Physicists in Medicine. Med. Phys. 31:675-81, 2004.

- BenComo J, Chu C, Tello V, Cho S, Ibbott G. Anthropomorphic breast phantoms for quality assurance and dose verification. J. Applied Clin. Med. Phys. 5:36-49, 2004.

- Cho S, Vassiliev O, Lee S, Liu H, Ibbott G, Mohan R. Reference photon dosimetry data and reference phase space data for the 6 MV photon beam from Varian Clinac 2100 series linear accelerators. Under revision for Med. Phys., 2004.

- Followill D, Davis D, Ibbott G. Comparison of Electron Beam Characteristics from Multiple Accelerators. Int. J. of Radiat. Oncol., Biol., Phys. 59:905-10, 2004.

- Marcus D, Peskin E, Maguire M, Weissgold D, Alexander J, Fine S, Followill D, the AMDRT Research Group. The Age-Related Macular Degeneration Radiotherapy Trial (AMDRT): One Year Results from a Pilot Study. American Journal of Ophthalmology 138:818-28, 2004.

28.	Nag S, Cardenes H, Chang S, Das I, Erickson B, Ibbott G, Lowenstein J, Roll J, Thomadsen B, Varia M. Proposed Guidelines For Image-Based Intracavitary Brachytherapy For Cervical Carcinoma: A Report From The Image-Guided Brachytherapy Working Group. Int. J. Radiat. Oncol., Biol., Phys.  60:1160-72, 2004.

- Olch A, Kline R, Ibbott G, Anderson J, Deye J, FitzGerald T, Followill D, Gillin M, Huq M, Palter J, Purdy J, Urie M. Quality Assurance for Clinical Trials: A Primer for Physicists. AAPM Report No. 86, 2004.

- Ibbott G. Applications of Gel Dosimetry. Journal of Physics: Conference Series 3:58-77, 2004.

- Gifford K, Horton J, Steger T, Heard M, Jackson E, Ibbott G. Verification of Monte Carlo calculations around a Fletcher Suit Delclos Ovoid with Normoxic Polymer Gel Dosimetry. Journal of Physics: Conference Series 3:217-20, 2004.

- Heard M, Ibbott G. Measurement of brachytherapy sources using MAGIC gel. Journal of Physics: Conference Series 3:221-3, 2004.

- Cho S, Vassiliev O, Lee S, Liu H, Ibbott G, Mohan R. Reference photon dosimetry data and reference phase space data for the 6 MV photon beam from Varian Clinac 2100 series linear accelerators.  Med. Phys. 32:137-48, 2005.

- Molineu A, Followill DS, Balter PA, Hanson WF, Gillin MT, Huq MS, Eisbruch A, Ibbott GS.  Design and Implementation of an Anthropomorphic Quality Assurance Phantom for Intensity Modulated Radiation Therapy for the Radiation Oncology Group. Int. J. of Radiat. Oncol. Biol. Phys. 63:577-83, 2005.

- Williamson J, Butler W, DeWerd L., Huq M, Ibbott G, Li, Z, Mitch M, Nath R, Rivard M, Todor D.  Recommendations of the American Association of Physicists in Medicine regarding the Impact of Implementing the 2004 Task Group 43 report on Dose Specification for 103Pd and 125I Interstitial Brachytherapy.  Med. Phys. 32:1424-39, 2005.

- Zhang G, Guerrero T, Segars W, Huang T, Bilton S, Lin KP, Ibbott G, Dong L, Forster K.  Elastic Image Mapping for 4D Dose Estimation in Thoracic Radiotherapy.  In press, Radiation Protection Dosimetry, 2005.

- Beddar A, Tailor R. Calibration of low energy electron beams from a mobile linear accelerator with plane-parallel chambers using both TG-51 and TG-21 protocols. Accepted by Physics in Medicine and Biology, 2005.

- Gifford KA, Horton Jr. JL, Jackson EF, Steger III TR, Heard MP, Mourtada F, Lawyer AA, Ibbott GS.  Comparison of Monte Carlo calculations around a Fletcher Suit Delclos ovoid with radiochromic film and normoxic polymer gel dosimetry.  Medical Physics 32:2288-94, 2005.

- Cho SH.  Estimation of tumor dose enhancement due to gold nanoparticles during typical radiation treatments: A preliminary Monte Carlo study.  Physics in Medicine and Biology 50:163-73, 2005.

40.	Kry SF, Salehpour M, Followill DS, Stovall M, Kuban DA, White RA, Rosen II.  Out-of-Field Photon and Neutron Dose Equivalents from Step-and-Shoot Intensity-Modulated Radiation Therapy.  Int J Radiat Oncol Biol Phys 62:1204-16, 2005.

41.	Kry SF, Salehpour M, Followill DS, Stovall M, Kuban DA, White RA, Rosen II.  The Calculated Risk of Fatal Secondary Malignancies from Intensity-Modulated Radiation Therapy.  Int J Radiat Oncol Biol Phys 62:1195-1203, 2005.

42.	Halvorsen H, Das IJ, Fraser M, Freedman DJ, Rice III RE, Ibbott GS, Parsai EI, Robin Jr. TT, Thomadsen BR.  AAPM Task Group 103 Report on Peer Review in Clinical Radiation Oncology Physics.  Journal of Applied Clinical Medical Physics 6:50-64, 2005.

Abstracts

- Balter P, Lowenstein J, and Hanson W: Electron Calibrations: Parallel Plate Chambers vs. Cylindrical Chambers Using TG-51. Medical Physics, Vol. 28: 1214, 2001.

- Radford, D.A., Followill, D.S., and Hanson, W.F.: A Standard Method of Quality Assurance for Intensity Modulated Radiation Therapy of the Prostate. Medical Physics 28 (6): 1211, 2001.

- Followill, D.S., Hernandez, N., and Hanson, W.F.: Standard Wedge and Tray Transmission Values for Varian, Seimens, Elekta/Philips Accelerators; A Quality Assurance Tool. Medical Physics 28 (6): 1211, 2001.

- Krintz, A., Followill, D., Melia, M., and Hanson W.F.: A Reanalysis of the Collaborative Ocular Melanoma Study Medium Tumor Trial Eye Plaque Dosimetry. Medical Physics 28 (6): 1192, 2001.

- Tailor, R.C. and Hanson, W.F.: Estimated Absorbed - Dose Ratios "TG51/TG21" for Most Commonly Used Cylindrical and Parallel-Plate Ion Chambers over a Range of Photon and Electron Energies. Medical Physics 28 (6): 1192, 2001.

- BenComo, J.A., Hernandez, N., and Hanson, W.F.: Problems and Shortcomings of the RPC Remote Monitoring Program of Institutions Dosimetry Data. Medical Physics 28 (6): 1212, 2001.

- Hanson, W.F., Martin, B., Kuske, R., Arthur, D., Rabinovitch, R., White, J., Wilenzick, R. Harris, I., Tailor, R., and Davis, D.: Dose Specification and Quality Assurance of RTOG Protocol 95-17, A Cooperative Group Study of 192Ir Breast Implants as Sole Therapy. Medical Physics 28 (6): 1297, 2001.

- Lowenstein J, Roll J, Hanson W, Davis D, Lanciano R, Calkins A, Petereit, D, Varia M, and Ibbott, G, Radiotherapy Quality Assurance of Gynecologic Oncology Group (GOG) Protocol 165, A Cooperative Group Study of Carcinoma of the Cervix, Int. J. Rad. Onc., Bio., Phys., 54:2, 283, 2002.

- Cho, S. H. and Ibbott, G.S.  Reference Dosimetry Data for the Siemens Primus Linear Accelerator: Preliminary Results for Depth Dose and Output Factor, Medical Physics 29:1944, 2002.

- Krintz, A., Hanson, W., Ibbott, G., and Followill, D., Verification of PLAQUE SIMULATOR dose distributions using radiochromic film.  Medical Physics 29: 1220-1221, 2002.

- Kry, S., Salehpour, M., Followill, D., Stovall, M., and Rosen, I., Secondary Dose from IMRT treatments.  Medical Physics 29:1348, 2002.

- Krintz, A., Hanson, W., Ibbott, G., and Followill, D., A reanalysis of the Collaborative Ocular Melanoma Study medium tumor trial eye plaque dosimetry. Int. J. Radiat. Oncol. Biol. Phys. 54: 329-330, 2002.

- Duzenli, C., Baldock, C., Ibbott, G., Schreiner, L.J., Jordan, K., Oldham, M., Short, K., CCPM/COMP Symposium on Gel Dosimetry.  Med. Phys. 29:1313, 2002.

- Nath, R., Rivard, M., Coursey, B., DeWerd, Hanson, W., Huq, M., Ibbott, G., Williamson, J., Status of the American Association of Physicists in Medicine Radiation Therapy Committee’s Subcommittee on Low-Energy Interstitial Brachytherapy Source Dosimetry: Procedure for the Development of Consensus Single-Source Dose-Distribution.  Med. Phys. 29:1349, 2002.

- Beach, M.L., Ibbott, G.S., and Maryanski, M., Implementation of a Polymer Gel Dosimetry Insert for an Anthropomorphic Head Phantom used to Evaluate Head and Neck Intensity-Modulated Radiation Therapy.  Med. Phys. 29:1942, 2002.

- Cho, S.H. and Ibbott, G.S., Reference Photon Dosimetry Data for the Siemens Primus Linear Accelerator: Preliminary Results for Depth Dose and Output Factor.  Med. Phys. 29:1944, 2002.

- Aguirre, J.F., Tailor, R., Ibbott, G., Stovall, M. Hanson, W.  TLD as a tool for remote verification of output for radiotherapy beams: 25 years of experience.  Standards and Codes of Practice in Medical Radiation Dosimetry 2:191-9, 2002.

- Ibbott, G., Beach, M., Maryanski, M.  An anthropomorphic head phantom with a BANG® polymer gel insert for dosimetric evaluation of IMRT treatment delivery.  Standards and Codes of Practice in Medical Radiation Dosimetry 2:361-8, 2002.

- Ibbott, G., Nelson, A., Followill, D., Balter, P., Hanson, W.  An anthropomorphic head and neck phantom for evaluation of intensity modulated radiation therapy.  Standards and Codes of Practice in Medical Radiation Dosimetry 2:209-17, 2002.

- Izewska, J., Svensson, H., Ibbott, G.  Worldwide QA networks for radiotherapy dosimetry. Standards and Codes of Practice in Medical Radiation Dosimetry 2:139-55, 2002.

- Nelson, A., Balter, P., Hanson, W., Ibbott, G., Experience with an IMRT Head and Neck QA Phantom.  Medical Physics, 29:1366, 2002.

- Bencomo, Jose A., and Ibbott, Geoffrey S., Quality Assurance Measurements of Beam parameters of a Linear Accelerator using MOSFET Dosimeters: A Feasibility Study. Medical Physics, 29, (6): 1201, 2002.

- Lowenstein J, Roll J, Ibbott G: To Plan or Not to Plan: Multiple High Dose Rate (HDR) Brachytherapy Insertations, Medical Physics, 30:1464, 2003.

- Bayouth, J., Followill, D., Nelson, A., Ibbott, G., and Morrill, S., Dosimetric Effect of a Hip Prosthesis when Delivering Intensity Modulated Radiation Therapy (IMRT): A Phantom Study.  Radiation and Oncology 68:S105, 2003.

- Kry, S., Salehpour, M., Followill, D., Stovall, M., Rosen, I. Risk Assessment of Secondary Malignancies from IMRT Treatments, Medical Physics, 30 (6): 1130, 2003.

- Heard, M., Ibbott, G., Followill, D.  Characterizing Dose Distributions of Brachytherapy Sources Using Normoxic Gel (WIP), Medical Physics, 30 (6): 1333, 2003.

- Esteban, J., Ibbott, G., Hanson, W., Horton, J., White, A., Cho, S.  Energy Dependence of a TLD System for Characterizing Low Energy Brachytherapy Sources (WIP), Medical Physics, 30 (6): 1349, 2003.

- Bencomo, J., Ibbott, G., Lee, S., Lii, M., Borges, J.  Evaluation of Two Linear Ionization-Chamber-Arrays as Data Acquisition Systems for Quality Assurance of Photon and Electron Beams, Medical Physics, 30 (6): 1350, 2003.

- Beach, M., Ibbott, G., Followill, D., Hanson, W., Bloch, C., Jackson, E., Tucker, S.  Implementation of a Polymer Gel Dosimetry Insert for An Anthropomorphic Phantom Used to Evaluate Head and Neck Intensity-Modulated Radiation Therapy, Medical Physics, 30 (6): 1396, 2003.

- Rivard, M.J., Coursey, B.M., DeWerd, L.A., Hanson, W.F., Huq, M.S., Ibbott, G.S., Nath, R., Williamson, J.F.  Update of AAPM Task Group No. 43 Report - A Revised Protocol for Brachytherapy Dose Calculations, Medical Physics, 30 (6): 1431, 2003.

- Rogers, D., DeWerd, L., Ibbott, G., Huq, M.  Changes in Co-60 Air-Kerma Standards: The Rationale for Change and the Impact On Clinical Practice, Medical Physics, 30 (6): 1442, 2003.

- Vassiliev, O., Liu, H.H., Dong, L, Antolak, J., Cho, S., Mohan, R.  A Monte-Carlo-Based System for Dose Calculation and Dosimetry QA of Photon IMRT (WIP), Medical Physics, 30 (6): 1453, 2003.

- Cho, S.H., Kim, C.H., Ibbott, G.S.  Differences in the Results of MCNP Simulation for Low Energy Photon Sources May Be Due to the Choice of Photon Cross Section Libraries, Medical Physics, 30 (6): 1464, 2003.

- Tailor, R., Esteban, J., Ibbott, G.S.  TLD Measurements in Liquid Water of Dosimetry Characteristics of a New 125I Seed, Medical Physics, 30 (6): 1470, 2003.

- Borges, J.A., Bencomo, J., Ibbott, G.S.  A 3 Dimensional Gel Dosimetry Lung Equivalent (WIP), Medical Physics, 30 (6): 1478, 2003.

- Tailor, R., Followill, D.S., Hernandez, N., Zhu, T.S., Ibbott, G.S.  Quality-Assurance Check of Collimator and Phantom-Scatter Factors, Medical Physics, 30 (6): 1483, 2003.

- Fisher, G., Followill, D., Tolani, N., Ibbott, G.  The Accuracy of 3-D Inhomogeneity Photon Algorithms in Commercial Treatment Planning Systems Using a Heterogeneous Lung Phantom (WIP), Medical Physics, 30 (6): 1507, 2003.

- Tailor, R., Hanson, W., Wells, N., Ibbott, G.  Are Photon and Electron Beam Calibrations More Consistent with TG-51 Than with TG-21?, Medical Physics, 30 (6): 1350, 2003.

- Rivard, M.J., Goetsch, S.J., Drzymala, R.E., Bourland, J.D., DeWerd, L.A., Gibbons, J.P., Ibbott, G.S., Kunugi, K.A., Moskvin, V., Walker, L.D.  A Working Group for Improving Consistency of Quality Assurance, Treatment Planning, and Clinical Implementation for Gamma Knife® Stereotactic Radiosurgery.  Accepted for oral presentation to GK2004 Meeting.

- Fisher, G., Followill, D., Ibbott, G.  The Accuracy of 3-D Inhomogeneity Photon Algorithms in Commercial Treatment Planning Systems Using a Heterogeneous Lung Phantom.  Med. Phys. 31:1714, 2004.

- Alvarez, P., Molineu, A., Hernandez, N., Followill, D., Balter, P., Hanson, W., Ibbott, G.  Anthropomorphic Phantoms for Quality Assurance in Radiation Therapy.  Med. Phys. 31:1732, 2004.

- Halvorsen, P., Das, I., Freedman, D., Ibbott, G., Parsai, E., Rice, R., Robin, T., Thomadsen, B.  Effective Peer Review for Clinical Radiation Oncology Physicists: Task Group 103's Preliminary Findings.  Med. Phys. 31:1743, 2004.

- Followill, D., Lowenstein, J., Ibbott, G.  High-Energy Photon Standard Dosimetry Data:  A Quality Assurance Tool.  Med. Phys. 31:1782, 2004.

- Gifford, K., Horton, J., Jackson, E., Steger, T., Heard, M., Mourtada, F., Lawyer, A., Ibbott, G.  Verification of Monte Carlo Calculations Around a Fletcher Suit Delclos Ovoid with Radiochromic Film and Normoxic Polymer Gel Dosimetry.  Med. Phys. 31:1808, 2004.

- Molineu, A., Alvarez, P., Hernandez, N., Followill, D., Ibbott, G.  Evaluation of 60 IMRT Irradiations of An Anthropomorphic H&N Phantom.  Med. Phys. 31:1822-3, 2004.

- Purdy, J., Palta, J., Ibbott, G.  The Advanced Technology QA Consortium (ATC).  Med. Phys. 31:1833, 2004.

- BenComo, J., Stewart, B., Wells, N., Ibbott, G.  Could MOSFET Detectors Substitute TLD Dosimeter as a Remote Monitoring Device of Megavoltage Beams Output?  Med. Phys. 31:1875, 2004.

- Esteban, J., Tailor, R., Cho, S., Ibbott, G.  Energy Dependence of a New TLD System for the Characterization of Low Energy Brachytherapy Sources.  Med. Phys. 31:1884-5, 2004. Med. Phys. 31:

- Heard, M., Ibbott, G.  Gel Dosimetry Technique for Measurements in High Dose Gradients.  Med. Phys. 31:1888, 2004.

- Cho, S., Vassiliev, O., Liu, H., Ibbott, G., Mohan, R.  On the Choice of Measured Depth Dose Data for the Monte Carlo Modeling of the 18 MV Photon Beam: Shifted Vs. Unshifted.  Med. Phys. 31:1906, 2004.

- Urie, M., Ulin, K., Followill, D., Ibbott, G., Olch, A., Palta, J., Purdy, J.  Results and Analysis by QARC of the IMRT Benchmark Required by the NCI for Participation in Clinical Trials.  Med. Phys. 31:1915-6, 2004.

- BenComo, J., Cho, S., Sun, T., Lee, S., Ibbott, G.  Use of MOSFET Detectors to Verify Dose Calculations in An Anthropomorphic Breast Phantom.  Med. Phys. 31:1926, 2004.

- Molineu A, Alvarez P, Hernandez N, Followill DS, Ibbott GS.  Evaluation of IMRT for Institutions Participating in NCI Sponsored Clinical Trials.  International Journal of Radiation Oncology Biology Physics 60:S319, 2004.

- Kry S, Titt U, Poenisch F, Followill D, Vassiliev O, Mohan R, Salehpour M.  A Monte Carlo Simulation of Out-Of-Field Radiation From An 18-MV Beam. Medical Physics 32: 1889, 2005.

- Molineu A, Hernandez N, Alvarez P, Followill D, Ibbott G. IMRT Head and Neck Phantom Irradiations: Correlation of Results with Institution Size. Medical Physics 32:1983-4, 2005.

- Davidson S, Followill D, Ibbott G, Prado K. The Evaluation of Several Commercial IMRT Treatment Planning Systems Heterogeneity Dose Calculation Algorithms Using An Anthropomorphic Thorax Phantom. Medical Physics 32:1988, 2005.

- Homann K, Gates B, Salehpour M, Followill D, Kirsner S, Buchholz T, White R, Prado K. Evaluation of the Dose Within the Abutment Region Between Tangential and Supraclavicular Fields for Various Breast Irradiation Techniques. Medical Physics 32: 1995, 2005.

- Lowenstein J, Roll J, Davis C, Holguin P, Duong H, Followill D, Ibbott G. Credentialing Requirements for NSABP B-39 / RTOG 0413. Medical Physics 32:2020-1, 2005.

- Alvarez P, Molineu A, Hernandez N, Followill D, Ibbott G. Evaluation of Doses Delivered by SBRT to the Lung of An Anthropomorphic Thorax Phantom. Medical Physics 32: 2043, 2005.

- Followill D, Molineu A, McGary J, Ibbott G. Clinical Reference Dosimetry of a "Hi-Art II" Helical Tomotherapy Machine. Medical Physics 32:2089, 2005.

- Followill D, Lowenstein J, Jhingran A, Roll J, Hernandez N, Ibbott G. The Radiological Physics Center’s Anthropomorphic Quality Assurance Phantom Family: New Developments. Medical Physics 32:2129, 2005.

- Shoales J, Followill D, Ibbott G, Balter P, Tolani N. Development of An Independent Audit Device for Remote Verification of 4D Radiotherapy. Medical Physics 32:2128, 2005.

- Followill D, Molineu A, McGary J, Hernandez N, Ibbott G. Evaluation of the TomoTherapy Planning Station Heterogeneity Correction Algorithm Using An Anthropomorphic Phantom. Medical Physics 32:2167, 2005.

- Bencomo J, Macey D, Lawyer A. Verification of Dose Point Kernels for Ir-192 Brachytherapy. Medical Physics 32:1951, 2005.

- Bencomo J, Weathers R, Stovall M, Ibbott G. Reference Electron Beam Dosimetry Data Set: A Preliminary Analysis.  Medical Physics 32:1999, 2005.

- Heard M, De La Mora A, Adamovics J, Ibbott G.  Evaluation of a New 3D Polyurethane Dosimeter for IMRT Verification.  Medical Physics 32:2167, 2005.

- Vass H, Ibbott G. Comparison of PDR Iridium and LDR Cesium Through Monte Carlo Simulation. Medical Physics 32:1955, 2005.

- Yoder R, Ibbott G. Needs in Ionizing Radiation Measurements and Standards. Medical Physics 32:2053, 2005.

- Lowenstein J, Roll J, Ibbott G.  Common Dosimetry Errors in Cervix Patients Treated with Brachytherapy on Clinical Trials. Medical Physics 32:2107, 2005.

- Ibbott G. The Radiological Physics Center's QA Activities. Medical Physics 32:2153-4, 2005.

- Briere TM, Tailor RC, Tolani NB, Prado KL, Lane RG, Woo SY, Ha CS, Gillin MT, Beddar AS. In Vivo Dosimetry Using Disposable MOSFET Dosimeters for Total Body Irradiation. Medical Physics 32:1996, 2005.

72. 	Schild SE, McGinnis WL, Graham D, Hillman S, Ibbott G, Northfelt D, Garces Y, Yee G, Bollinger J, Jett J.  Results of a Phase I Trial of Concurrent Chemotherapy and Escalating Doses of Radiation for Unresectable Non-Small Cell Lung Cancer.  International Journal of Radiation Oncology Biology Physics 63:S44, 2005.

73.	Molineu A, Alvarez P, Hernandez N, Followill DS, Ibbott GS.  Analysis of Errors Made During 138 IMRT Irradiations of an Anthropomorphic Phantom.  International Journal of Radiation Oncology Biology Physics 63:S58, 2005.

Invited Articles

- Greven, K.M., Levenback, C., Chao, C.K.S., Delaney, T, Del Priore, G., Eifel, P., Erickson, B.A., Followill, D., Gaffney, D., Garcia, M., Gerszten, K., Grigsby, P., Henderson, R., Hricak, H., Hsu, J., Jhingrin, A., Kaye, A., Kudelka, A., Lukka, H., Mutch, D., Nag, S., Rotman, M., Shefter, T., Smith, W., Stehman, F., Souhami, L., Wenzel, L., Winter, K.A., and Wolfson, A. “Gynecologic Cancer Working Group,” Int. J., Radiation Oncology Biol. Phys, Vol. 51 No. 3 Supplement 2, 58-59, 2001.

- Michalski, J., Purdy, J.A., Gaspar, L., Souhami, L., Ballow, M., Bradley, J., Chao, C.K.S., Crane,

C., Eisbruch, A., Followill, D., Forster, K., Fowler, J., Gillin, M.T., Graham, M.L. Harms, W.B., Huq, S., Kline, R.W., Langer, M., Mackie, T.R., Mukherji, S., Podgorsak, E.B., Roach, M., Ryu, J., Sandler, H., Schultz, C.J., Schell, M., Verhey, L.J. Vicini, F., and Winter, K.A., “Image-Guided Radiation Therapy Committee”, Int. J., Radiation Oncology Biol. Phys, Vol. 51 No. 3 Supplement 2, 60-65, 2001.

- Cho, S. H.  Dosimetry of brachytherapy sources: Review of the AAPM TG-43 formalism, Proceedings of the 3rd Korea-Japan Joint Meeting on Medical Physics and the 2nd Asia Oceania Congress of Medical Physics 2002, ISSN 1589-6691, September 2002.

4.	Ibbott GS.  Medical Physics Consult - Gel Dosimetry Basics.  Accepted for publication in the Journal of the American College of Radiology, 2005.

Letters to the Editor/Newsletters

- Ibbott, G.S. and Nath, R.: “Dose-rate constant for Imagyn 125I brachytherapy source.  Medical Physics 28(4), April 2001.

- Ibbott, G.S., Meigooni, A.S., and Gearheart, D.M.: Monte Carlo determination of dose rate constant,”

Medical Physics 29, 1637-1638, 2002.

- Rivard, M.J., Coursey, B.M., DeWerd, L.A., Hanson, W.F., Huq, M.S., Ibbott, G.S., Nath, R.,

Williamson, J.F.: Comment on “Let’s abandon geometry factors other than that of a point source in brachytherapy dosimetry,” Medical Physics 29, 1917-1918, 2002.

- Followill, D.S., Lowenstein, J.R., and Ibbott, G, Quality Assurance: It’s Here to Stay, Newsletter American Association of Physicists in Medicine, Vol. 28, No. 1, January/February 2003.

- Tailor R, Hanson W, Ibbott G. Response to Comment on Calculated absorbed-dose ratios, TG51/TG21, for most widely used cylindrical and parallel-plate ion chambers over a range of photon and electron energies. Letter to Editor, Medical Physics, 30:478-480,2003.

- Olch, A., Followill, D., Thomadsen, B., Wichman, B., Rosemark, P., and Hunt, M., In regard to Urie et al.: Current calibration, treatment, and treatment planning techniques among institutions participating in the children'’ oncology group. Int. J., Radiation Oncology Biol. Phys, Vol. 56 No. 4:1209-1210, 2003.

- Palta, J.R., Deye, J.A., Ibbott, G.S., Purdy, J.A., Urie, M.M. Credentialing of Institutions for Use of IMRT in Clinical Trials. In regard to Engler and Rivard: Evaluation of the NCI IMRT Benchmark for clinical trials. IJROBP 57:S260, 2003.

- Palta JR, Deye JA, Ibbott GS, Purdy JA, Urie MM.  Credentialing of Institutions for IMRT in Clinical Trials.  Int. J. of Radiation Oncology, Biol. Phys. 59:1257-62, 2004.

9.	Nag S, Cardenas H, Chang S, Das IJ, Ibbott GS, Thomadsen B, Varia M.  Reply to GEC-ESTRO-GYN letter.  Int. J. of Radiation Oncology, Biol. Phys. 62:295-6, 2005.

10.	Nag S, Cardenas H, Chang S, Das IJ, Ibbott GS, Lowenstein J, Roll J, Thomadsen B, Varia M.  Reply to Narayan et al regarding ROB-D-05-00575.  Int. J. of Radiation Oncology, Biol. Phys. (in press), 2005.

11.	Butler WM, Huq MS, Li Z, Thomadsen BR, DeWerd LA, Ibbott GS, Mitch MG, Nath R, Rivard MJ, Williamson JF, Yue NJ, Zaider M.  Third party brachytherapy seed calibrations and physicist responsibilities.  Medical Physics 33:247-8, 2005.

Manuals, Teaching Aids, Other Publications

- Digital Imaging Technology Applications in Mammography in CD of proceedings of the 2nd meeting              of ALFIM in Caracas Venezuela, October 2001.

- Bencomo, J.A., Hernandez, N., and Hanson, W.F. Problems and Shortcomings of the RPC Remote Monitoring Program of Institutions Dosimetry Data. AAPM 43rd Annual Meeting, Salt Lake City, Utah, July 22-26, 2001.

- Bencomo, Jose A., and Ibbott, Geoffrey S., Quality Assurance Measurements of Beam parameters of a Linear Accelerator using MOSFET Dosimeters: A feasibility Study. AAPM 44th Annual Meeting, Montreal, Ontario, Canada, June 13-18, 2002.

- Lowenstein, J., Educational video on how to utilize the TG-51 Calibration Protocol, 2001.

- Ibbott, G., Manual on Radiation Protection in Hospitals and General Practice, ed. by Gerald P. Hanson, to be published by WHO, 2001.

- Aguirre, F., Physical aspects of quality assurance in radiotherapy recommendation from a panel of experts from the IAEA within the activation of the Regional Program ARCAL XXX (to be published).

- Aguirre, F. and Ibbott, G., Lecture materials for "Prevention of Accidental Exposure", IAEA Division of Radiation and Waste Safety, 2003.

- Followill, D., Lowenstein, J., and Ibbott, G., Quality Assurance: It’s here to stay.  AAPM Newsletter, Jan/Feb, 2003.

9.	Olch, A., Kline, R., Ibbott, G., et. al, Quality Assurance for Clinical Trials: A Primer for Physicists.  Prepared by AAPM Subcommittee on QA for Clinical Trials.  Accepted for publication as AAPM Report No. 86, 2004.

Book Chapters

- Ibbott, G., What every medical physicist should know about the JCAHO standard. In Accreditation Programs and the Medical Physicist.  Ed. by R.L. Dixon, P.B. Butler, and W.T. Sobol, AAPM Monograph Series, Medical Physics Publishing, 2001.

- Ibbott, G., Professional roles in VBT. In Intravascular Brachytherapy/Fluoroscopically Guided Interventions.  ed. by Stephen Balter, Rosanna C. Chan, and Thomas B. Shope, Jr., AAPM Medical Physics Monograph No. 28, 2002.

- BenComo, José A., Introduction to Radiation Protection for Medical Physicists, Text Book CD-ROM (under development).

- J. Galvin and G. Ibbott, Commissioning and Accreditation of a SBRT Program. Stereotactic Body Irradiation, ed. by R. Timmerman and B. Kavanagh, Graphic World Publishing Services, 2004.

5.	Radiation Dosimetry: 3-Dimensional.  In Encyclopedia of Medical Devices and Instrumentation, ed. by John G. Webster.  John Wiley & Sons, 2005 (in review).

Books (edited and written)

1.	Radiation Therapy Physics, 2nd edition, W.R. Hendee, G. S. Ibbott, Mosby Year-Book Publishers, Philadelphia, 1996.

- Principles of Digital Mammography 1st Ed. (University Autonomous of Mexico City, Mex. (under Development), 2002.

3.	Radiation Therapy Physics, 3rd edition, W.R. Hendee, G.S. Ibbott, and E.G. Hendee, John Wiley and Sons, New York, 2004.

## PRESENTATIONS

INTERNATIONAL ACTIVITIES

Geoffrey Ibbott attended an FDA Meeting, Washington, DC, October 31-November 1, 2005.

Geoffrey Ibbott attended a TG-100 Meeting, Chicago, IL, November 2-3, 2005.

Geoffrey Ibbott hosted a US TAG Meeting, Houston, TX, November 9, 2005.

Geoffrey Ibbott attended an IEC WG-1 Meeting, Nice, France, November 16-18, 2005.

### VISITS TO INSTITUTIONS

- David Followill performed radiological physics measurements and reviewed patient dosimetry at the Mayo Clinic, Rochester, MN, November 7-10, 2005.

- Jessica Lowenstein Leif performed radiological physics measurements and reviewed patient dosimetry at the Mayo Clinic, Rochester, MN, November 7-10, 2005.

- J. Francisco Aguirre performed radiological physics measurements and reviewed patient dosimetry at the New York University Medical Center, New York, NY, November 26-December 1, 2005.

- Paola Alvarez performed radiological physics measurements and reviewed patient dosimetry at the New York University Medical Center, New York, NY, November 28-December 1, 2005.

- Geoffrey Ibbott performed radiological physics measurements and reviewed patient dosimetry at the University of Medicine and Dentistry, Newark, NJ, December 5-7, 2005.

- Paola Alvarez performed radiological physics measurements and reviewed patient dosimetry at the Rush Presbyterian Medical Center, Chicago, IL, December 9-12, 2005.

### MEETINGS ATTENDED

### (October 1, 2005 - December 31, 2005)

- Geoffrey Ibbott attended the American Society for Therapeutic Radiology and Oncology Meeting, Denver, CO, October 14-20, 2005.

- David Followill attended the American Society for Therapeutic Radiology and Oncology Meeting, Denver, CO, October 15-18, 2005.

- Joye Roll attended the American Society for Therapeutic Radiology and Oncology Meeting, Denver, CO, October 15-18, 2005.

- Franklin Hall attended the American Society for Therapeutic Radiology and Oncology Meeting, Denver, CO, October 15-19, 2005.

- Dorene Biagas attended the Society for Radiation Oncology Administrators Meeting, Denver, CO, October 15-19, 2005.

- Malcolm Heard attended the Council on Ionizing Radiation Measurements and Standards Meeting, Gaithersburg, MD, October 23-26, 2005.

- David Followill attended the Children's Oncology Group Meeting, Dallas, TX, October 26-28, 2005.

- Geoffrey Ibbott attended the Children's Oncology Group Meeting, Dallas, TX, October 26-28, 2005.

- Paola Alvarez attended the Eastern Cooperative Oncology Group Meeting, Tampa, FL, November 19-20, 2005.

- Geoffrey Ibbott attended the Radiological Society of North America Meeting, Chicago, IL, November 26-December 2, 2005.

Respectfully submitted,

Geoffrey S. Ibbott, Ph.D.

Director, Radiological Physics Center

EXPENDITURES OF THE RADIOLOGICAL PHYSICS CENTER

(RPC Grant and the Advanced Technology Subcontract)

October 1, 2005 - December 31, 2005

____________________________________________________________________________

## PERSONNEL (salaries, fringe benefits):	$591,683.95

9 Physicists, 1 Supervisor of Quality Assurance Dosimetry Services, 3 Dosimetrists, 1 Informatics Manager, 1 Database Administrator, 1 Programmer Analyst I, 1 Radiological Physics Supervisor, 4                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                Radiological Physics Technicians, 1 Department Administrator, 1 Sr. Administrative Assistant, 2 Administrative Assistants, 1 Procurement Technician, 1 Sr. Secretary, and 3 Graduate Research Assistants.

______________________________________________________________________________

### TRAVEL

### Visits:

David Followill Mayo Clinic, Rochester, MN $ 713.40 Jessica Lowenstein Mayo Clinic, Rochester, MN $ 466.80 Francisco Aguirre New York University Medical Center, New York, NY $ 1,626.68 Paola Alvarez New York University Medical Center, New York, NY $ 724.53 Geoffrey Ibbott University of Medicine and Dentistry, Newark, NJ $ 363.66 Paola Alvarez Rush Presbyterian Medical Center, Chicago, IL $ 749.91 Total $ 4,644.98

Meetings:

| Geoffrey Ibbott | ASTRO - Denver, CO | $ 1,268.16 |
| --- | --- | --- |
| David Followill | ASTRO - Denver, CO | $ 332.08 |
| Joye Roll | ASTRO - Denver, CO | $ 595.82 |
| Franklin Hall | ASTRO - Denver, CO | $ 697.05 |
| Dorene Biagas | SROA - Denver, CO | $ 846.46 |
| Malcolm Heard | CIRMS - Gaithersburg, MD | $ 520.32 |
| David Followill | COG - Dallas, TX | $ 348.33 |
| Geoffrey Ibbott | COG - Dallas, TX | $ 117.49 |
| Paola Alvarez | ECOG - Tampa, FL | $ 185.00 |
| Geoffrey Ibbott | RSNA - Chicago, IL | $ 986.96 |
|  | Total | $ 5,897.67 |

| CONSULTANTS | $ 314 |
| --- | --- |
| SUPPLIES: | $12,515 |
| Office supplies, laboratory and record keeping, TLD, |  |
| TLD supplies, software, equipment, etc. |  |
| OTHER EXPENSE: | $23,886 |
| Postage, telephone, reprints, copying, computer fees, |  |
| equipment repair, registration fees, tuition, freight/delivery, etc. |  |
| SPACE RENTAL: | $66,075 |
| Total Expenditures October 1, 2005 - December 31, 2005 | $705,016.60 |
| Indirect costs @ 26% | $183,304.32 |
| TOTAL | $888,320.92 |

RPC Report to TPC January 2005

| Clinical Study Groups | Office Reviewing Patient Records | Special Projects |
| --- | --- | --- |
| Gynecologic Oncology Group GOG | RPC | Radiotherapy manual Electronic Transfer of Patient Records Image Based Treatment Planning IMRT Guidelines Defining Treatment violations |
| National Surgical Adjuvant Breast and Bowel Project NSABP | RPC | IMRT Guidelines Breast phantom Partial Breast RT Pre-approval |
| North Central Cancer Treatment Group NCCTG | RPC | Rapid Review of Lung Study 3D CRT credentialing Stereotactic Phantom |
| Radiation Therapy Oncology Group RTOG | RTOG/RPC | IMRT H&N Phantom /pre-approval Prostate Phantom Prostate Implant Pre-approval LDR/HDR Stereotactic Head Phantom Lung Phantom 4D Liver Phantom Cervix HDR/LDR protocol compliance Patient Calculation Program Partial Breast RT Pre-approval IMRT Benchmark Case |
| Southwest Oncology Group SWOG | QARC | 3D Benchmark Case |
| Clinical Trial Support Unit CTSU | QARC, RPC, RTOG | RPC Institution List RTF Numbers TLD Monitoring |

| American College of Radiology Imaging Network ACRIN | N/A | Participate in the development of guidelines for quality assurance of institution participating in ACRIN CT Dose Measurements |
| --- | --- | --- |
| American College of Surgeons Oncology Group ACOSOG | QARC | RPC Institution List |
| Cancer and Acute Leukemia Group B CALGB | QARC | TRUS Prostate Approval Collaboration |
| Children’s Oncology Group COG (POG, CCG, WILMS, RHABDO) | QARC | 3D Benchmark Case IMRT Benchmark Case/IMRT Phantom CT/MRI Fusion Benchmark |
| Eastern Cooperative Oncology Group ECOG | QARC |  |

APPENDIX I

RPC Response to Report of Ad Hoc Site Visit Team

March 21-22, 2005

During its review of the RPC on March 21-22, 2005 the AAPM Therapy Physics Committee Site Visit team made a number of insightful and valuable recommendations. The following are the RPC’s responses to these recommendations, and an explanation of our efforts to comply with the recommendations.

Recommendation 1:  The site committee recommends that the leadership of the RPC, Radiation Physics department and clinical divisions discuss whether these rotations have been optimal or could be improved, and that the rotations are appropriate to the mission of the RPC as well as the clinical need of the department.

A number of discussions have been held with Drs. Mohan and Gillin regarding the rotation of RPC physicists through the clinic. The RPC is concerned that the RPC physicist position has been moved to the melanoma/sarcoma service, which provides the RPC physicist with little in the way of experience with advanced or state-of-the-art technologies. For example, Dr. Ramesh Tailor performed a rotation in this service during the second half of 2005, during which he spent a great deal of time investigating the treatment technique used for total body irradiation with photons and electrons. While it is certainly true that immersion in the clinic may be helpful to ensure that RPC physicists fully appreciate the daily challenges of a clinical physicist, we do not feel that this is the most effective use of the RPC physicist’s time. In addition, recent restructurings of the clinical section have resulted in the melanoma/sarcoma service being staffed by only two physicists, one of whom is the RPC physicist. Understandably, the other physicist, Mr. Naresh Tolani, has expressed his concern that he is the only permanent member of the team. He therefore feels unease leaving the department for any significant length of time.

It is our intention to review these concerns with Dr. Gillin in the near future.

Recommendation 2:  That the automatic data entry system be given high priority and that an appropriate time line be established for implementation.  The gains in efficiency should offset the resources required to implement this.

We agree that the gains in efficiency realized by increased automation of our data entry systems should offset the resources required for implementation. Unfortunately, it has been necessary during the past year to shift resources to other priorities, most notably credentialing for the NSABP/RTOG partial breast irradiation protocol. As a result, our automation of the TLD project has been delayed. At this point, we are performing final testing of the electronic review portion of the automation project. We anticipate that electronic TLD review will be implemented in the next month, and will not only simplify the review of TLD results but also allow us to transition to electronic distribution of the final TLD reports. In addition to a time savings, we expect to virtually eliminate the cost of mailing these reports.

The second part of the project, that is the automated entry of acquired data, is likewise being tested. The testing phase was delayed by the departure of two of our TLD staff during the past year and the need to train additional staff. We also have acquired a fifth TLD reader, but because it is a used device, we have expended considerable effort in evaluation of the equipment. This has contributed to the delay in implementing the automated data entry process.

Recommendation 3:  We recommend that the RPC continue to look for ways to improve efficiency and that the leadership (Ibbott, Followill, Biagas) with consultation from Mohan formulate a plan for increasing revenues.  We request that they report back by no later than the March meeting of next year.  Potential avenues include increased fees, additional grant support, institutional support, charitable donations, and commercial donations, although this latter type may create the appearance of a conflict of interest and should be pursued cautiously.  In addition, the sale or licensing of phantom designs could be pursued.

In September 2005, the RPC received permission from NCI to raise the institutional annual participation fees. The current fee structure is as follows: Institutions with one or two megavoltage machines are invoiced $600, institutions with three or four machines, $1,000, institutions with five or more machines, $1,500. We had anticipated that the increase in fee would be sufficient to support our activities when combined with last year’s NCI funding, and this appears to be the case. Unfortunately, in 2006, we have been informed that because Congress actually cut funding to NIH this year, NCI will cut our funding by 3% from last year’s level. Therefore, the RPC has found it necessary to reduce the salary costs. RPC has worked out an arrangement with Radiation Dosimetry Services (RDS) to provide IMRT phantoms for a fee, as is presently done with the SRS phantoms. Several RPC staff will be transferred to RDS for a portion of the year, to provide these services. During that time their salaries will not be paid by RPC, thus reducing the RPC salary budget to match our funding level. In addition, we anticipate providing RPC-type visits for a fee, again using the RDS mechanism. As is the case with RPC visits, the RDS visits will be strictly an audit of the work of a medical physicist, performed to provide confirmation or to detect and resolve errors. The visits will not be performed in a manner that could substitute for comprehensive work performed by a hospital physicist.

These activities will reduce the staff available to support the RPC’s mission. The NCI has been informed of our intention to introduce these services and reduce our salary burden in this fashion, and as it becomes necessary, we will inform the study groups also.

Recommendation 4:  A much greater effort should be put into data analysis and data mining.  This can be accomplished by RPC personnel, MD Anderson Radiation Physics department personnel on a research rotation through RPC, or through making the data available to other parties interested in collaboration with RPC.   In addition, the data could be made widely available to anyone wishing to mine it via the web.  It is understood that this would be a major undertaking for the RPC.  (There was not unanimous agreement by the site review committee regarding this last mechanism.)

The RPC has deferred action on this recommendation, preferring to wait until the 2006 site visit for discussion of this issue. However, we have begun preparations of a manuscript describing the RPC Standard Data, for publication in a medical physics journal.

Recommendation 5:  That the salaries of the RPC physics staff be reviewed periodically with R. Mohan to assure that equity and competitiveness with national standards be maintained.

The RPC director reviews the salaries of RPC faculty and staff on an annual basis, and attempts as much as possible to keep RPC salaries consistent with salaries of other members of the Department.

Recommendation 6:  That the director of the RPC submit his report to the TPC also to the site review committee so that the information contained therein can be included in the site review report.

The RPC report has been provided to the site visit review committee simultaneously with its provision to the Chair of TPC.

Recommendation 7: That interviews with R. Mohan and M. Gillin be routinely included in the site visit agenda.  In addition, accommodation for interviews with other key personnel as appropriate or requested should be made.

Dr. Mohan’s travel schedule makes it impossible for him to participate in the site visit this year. However, arrangements have been made with Dr. Gillin to be available for an interview during the site visit. Every effort will be made to accommodate interviews of other key personnel as requested by the site visit team.

Recommendation 8:  While virtually all recommendations from the previous site visit where complied with, the committee reiterates recommendation #6 from the 2004 report.  Specifically Chairman of Radiation Physics should ensure that the RPC has adequate space, and should be allocated space contiguous with the ADCL as that space is remodeled.

Dr. Mohan has instructed the ADCL to increase its revenue and become profitable by August 31, 2006. As part of our plan to make the ADCL profitable, we have asked again that the ADCL/RPC space in the hospital be consolidated in the vicinity of the ADCL cobalt unit. We have outlined a simple exchange of offices and lab space requiring no construction and essentially no cost. We have no assurance that this consolidation will take place, but are hopeful and believe that the efficiencies and increased convenience of this arrangement will enable the ADCL to become profitable and support the use of these facilities by the RPC.

APPENDIX II

Collaborations between RPC physicists and MDACC clinic physicists and physicians

February 2, 2006

Bencomo, J. A., Cho, S., Sun, T., Lee, S., Ibbott, G.  Use of MOSFET Detectors to Verify Dose Calculations in An Anthropomorphic Breast Phantom.  (first draft), in progress.

Borges G, Bencomo, J., Ibbott, G., and Ma, J.: Gel Lung-Equivalent Material for 3D Dosimetry, Journal of Applied Clinical Medical Physics (in progress).

Bencomo, J., Ibbott, G., Borges, J., Lee, S., and Lii, J: Evaluation of Dosimetry Parameters of Photon and Electron Beams Using a Linear Ionization Chamber Array.  Journal of Applied Clinical Medical Physics (In Progress).

Bencomo J, Macey D, and Lawyer A. Verification of Dose point kernel for HDR 192Ir, Medical Physics. SU-FF-T-9, 2005.

Dan Macey, Jose Bencomo, Ann Lawyer.  Verification of source placement for HDR brachytherapy applicators using a pin hole collimator.  (In progress)

Malcolm Heard, Jose Bencomo, Peter Balter (tentative) and Geoffrey Ibbott.  Quality assurance of 4D IMRT treatment using a 3D gel dosimeter and the ScandiDos Delta4 device.

_____________________________________________________________________________

David Followill, Karl Prado, Mohammed Salehpour, Tom Buchholz, Steven Kirsner:  evaluating doses to the contralateral breast as a result of various treatment delivery techniques.

David Followill, Karl Prado, Mohammed Salehpour, Tom Buchholz, Steven Kirsner:  Evaluating doses at the match line between tangential and supraclavicular fields for breast treatment.

David Followill, Mohammed Salehpour, Uwe Titt, Radhe Mohan, Marilyn Stovall and Stephen Kry:  assessing organ doses from IMRT outside of the primary treatment field through the use of Monte Carlo calculations and measurements.

Jason Shoales, David Followill, George Starkschall, Tom Guerrero, Geoffrey Ibbott:  a mechanism to simulate respiratory motion in 2 dimensions for the RPC thorax and liver phantoms.

Scott Davidson, David Followill, Chen Dong, Zhongxing Liao, Karl Prado, Geoffrey Ibbott: evaluation of heterogeneity corrected dose calculations for two common IMRT treatment planning systems using the RPC thorax phantom.

David Followill, Al Smith, Mohammad Salehpour, Martin Bues, Geoffrey Ibbott: Several projects involving proton dosimetry, doses out of field, dosimetric standards, QA procedures, and the RPC anthropomorphic phantoms.

Gary Fisher, David Followill, Sue Tucker, Charles Bolch, Zhongxing Liao, George Starkschall:  Evaluation of heterogeneity correction algorithms.

David Followill, Mohammad Salehpour, Allen White, Steven Kry:  Uncertainty analysis of the risk assessment for secondary malignancies from doses out of field.

_____________________________________________________________________________

Ramesh Tailor, Teena Briere, Sam Beddar: " In-vivo dosimetry using disposable MOSFET dosimeters for total body irradiation".

Ramesh Tailor, Chul Ha, Naresh Tolani.  “Lessons from in-vivo TLD dosimetry practice for total skin irradiation at M. D. Anderson Cancer Center”.

Naresh Tolani, Ramesh Tailor, John Garcia.  “3D treatment planning system and dose verification for pediatric total body irradiation”.

Naresh Tolani, Ramesh Tailor, “Impact of lung shield on TBI dose at prescription point.”

Ram Sadagopan, Ramesh Tailor, Uwe Titt, "Evaluation of dose at lung-tumor interface, especially in the tumor fingers, using TLD and Monte Carlo simulation".

Ramesh Tailor and several clinic physicists and physicians:  Patent: Implementation of the Modified breast-compression device resulted in applying for a patent. The joint patent UTSC 914U SP1 is in process.

_____________________________________________________________________________

Ryan Hecox, Geoffrey Ibbott, David Followill, George Starkschall, John Gibbons:  Assessment of Tomotherapy Hi-Art planning station and imaging capabilities in the presence of a hip prosthesis.

Claire Nerbun, Geoffrey Ibbott, Al Smith, Wayne Newhauser, David Followill:  Evaluation of radiochromic film in proton beams.  (completed, paper in first draft).

Wayne Newhauser, Malcolm Heard, Geoffrey Ibbott, Jonathan Farr.  Evaluation of proton LET and polymer gel dosimeters.

Wayne Newhauser, Geoffrey Ibbott, Hanne Kooy.  Measurement of effect of marker seeds in proton beams.

Jackeline Esteban, Ramesh Tailor, Geoffrey Ibbott, Sang Cho, John Horton:  TLD dosimetry in water, and comparisons with Solid Water.

Malcolm Heard, Geoffrey Ibbott, David Followill, Ed Jackson, John Horton:  Investigation of gel dosimetry to determine brachytherapy source dose distributions.

Hilary Vass, Geoffrey Ibbott, Firas Mourtada, Anuja Jinghran, John Horton:  Comparison of PDR iridium and LDR cesium through Monte Carlo Simulation.

Molineu A, Followill DS, Balter PA, Hanson WF, Gillin MT, Huq MS, Eisbruch A, Ibbott GS.  Design and Implementation of an Anthropomorphic Quality Assurance Phantom for Intensity Modulated Radiation Therapy for the Radiation Oncology Group. Int. J. of Radiat. Oncol. Biol. Phys. 63:577-83, 2005.

Kent Gifford, John Horton, Pat Eifel, Firas Mourtada, Sang Cho, Geoffrey Ibbott:  CT volumetric treatment planning study of intracavitary brachytherapy implants.

Gifford KA, Horton Jr. JL, Jackson EF, Steger III TR, Heard MP, Mourtada F, Lawyer AA, Ibbott GS.  Comparison of Monte Carlo calculations around a Fletcher Suit Delclos ovoid with radiochromic film and normoxic polymer gel dosimetry.  Medical Physics 32:2288-94, 2005.

# Text boxes

Radiological Physics Center

The University of Texas M. D. Anderson Cancer Center

1515 Holcombe Boulevard, Unit 547

Houston, Texas 77030